MS1-optimized gradients (64 bit, Ubuntu assumed)

Optimized gradient calculation
  1. The input parameters would be
    - Spectral data → data/ms1/121107QEx2_RSLC_beta_HeLa_500ng_Linear_v2.mzML
    - Peak intensity above→ 1e6
     - Start gradient time → 10
     - End gradient time → 250
     - Start gradient %B→ 2
     - End gradient %B → 40
     - Lag time → 6.2

     - Time step → 4.0
     - Decimals → 1

  1. The optimized gradient that should be obtained is given in the file
    ms1-optimized-gradient-human-4h.txt
    The graphical window displaying the result should look as shown below

1. Optimized gradient calculation & optimization of DIA m/z windows
  2.1 The input parameters would be
  - Spectral data → data/ms1/121107QEx2_RSLC_beta_HeLa_500ng_Linear_v2.mzML
  - Peak intensity above→ 1e6

  - Number of time points → 4
  - Number of m/z windows → 10
  - Minimum m/z → 400
  - Maximum m/z → 1200
  - Start gradient time → 10
  - End gradient time → 250
  - Start gradient %B→ 2
  - End gradient %B → 40
  - Lag time → 6.2
  - Time step → 4.0
  - Decimals → 1
  2.2 The optimized gradient that should be obtained is given in the file
  ms1-optimized-gradient-human-4h-DIA.txt
  The DIA m/z windows are given in
  ms1-optimized-mz-windows-human-4h-DIA.txt

  The two graphical windows displaying the results should look as shown below